## Slide 1
Motion Control of a 4-DOF
Cable-Driven Upper Limb Exoskeleton
Jianhua Wang, Wang Li, Weihai Chen, &Jianbin Zhnag
School of Automation Science and Electrical Engineering
Beihang University
China

## Slide 2: Introduction
4-DOF cable-driven upper limb exoskeleton
  Shoulder module and elbow can be analyzed separately.
PD feedback combined with inverse dynamic feedforward controller
Optimal cable tension

## Slide 3: Outline
Background
Kinematic and dynamic modeling
Control scheme and hardware
Experiment result
Conclusion and future work

## Slide 4: Background
STROKE:
  The second most common cause of death and disability worldwide.
  When the blood supply to part of your brain is interrupted or reduced.
  The burden will increase greatly during the next 20 years, especially in developing countries.
  Strokes can be treated and prevented.

## Slide 5: Background
Traditional therapies:
  Physical therapist
  Low efficiency
Rehabilitation robot:
  Controlled and repeatable motions
  Availability of measurements

## Slide 6: Background
Classification
  End-effector-based
  Exoskeleton

## Slide 7: Background
Classification
  End-effector-based
    MIT-MANUS
    InMotion ARM™
  Exoskeleton
    ARM-Guide
    ARMin

## Slide 8: Outline
Background
Kinematic and dynamic modeling
Control scheme and hardware
Experiment result
Conclusion and future work

## Slide 9: Anatomy of upper limb
Segments:
  Upper arm
  Forearm
  Hand
Joints:
  Shoulder
  Elbow
  wrist

## Slide 10: Mechanical structure
Exoskeleton:
  4-DOF(3-DOF of shoulder module & 1-DOF of elbow module).
  Cable-driven.
Advantages:
  Lighter
  Cable nodes are flexible.
  Shoulder module and elbow can be analyzed separately.
  Without the need for joint alignment.

## Slide 11: Kinematic and dynamic modeling
Kinematic model:
Dynamic model:

## Slide 12: Outline
Background
Kinematic and dynamic modeling
Control scheme and hardware
Experiment result
Conclusion and future work

## Slide 13: Control scheme
Control law:

## Slide 14: Tension distribution
Redundancy of actuation
Quadratic programming
Notes: Cable-driven exoskeleton robot include two joint with redundance actuation, shoulder joint module and elbow joint

## Slide 15: Hardware
Main components:
  Six motors and motor drivers
  Two IMU and six load sensors
  Two acquisition card
  IPC

## Slide 16: Outline
Background
Kinematic and dynamic modeling
Control scheme and hardware
Experiment result
Conclusion and future work

## Slide 17: Experiment video

## Slide 18: Experiment Result
Trajectory:
  Joint space
  Cubic polynomial interpolation
  Four degree respectively
0
2
4
6
12
14
16
18
8 10
time(s)
-40
-30
-20
-10
0
10
q1( °)
0
2
4
6
12
14
16
18
8 10
time(s)
-50
-40
-30
-20
-10
0
10
q2( °)
0
2
4
6
12
14
16
18
8 10
time(s)
-30
-20
-10
0
10
20
30
q3( °)
0
2
4
6
12
14
16
18
8 10
time(s)
-40
-35
-30
-25
-20
-15
-10
-5
0
q4( °)
Planned
Measured

## Slide 19: Outline
Background
Kinematic and dynamic modeling
Control scheme and hardware
Experiment result
Conclusion and future work

## Slide 20: Conclusion and future work
Conclusion:
  Propose 4-DOF cable-driven exoskeleton
  PD feedback combined with inverse dynamic feedforward controller
  Optimize cable tension
  Works well in prototype exoskeleton
Future work:
  Experiment on patients to verify its effectiveness

## Slide 21
Thank you!
Questions?